A&E Specifications Rev 011811 SMR 2000 Series

# Smart Megapixel Recorder

# Bid Specification

## Description

Surveon SMR 2000 series are state-of-the-art network video recorder feature hardware RAID, low power and hot swappable hard disks. With bay hard disk trays, the SMR2000 series are the best in class NVRs that supports megapixel quality video of 6 to 16 channels for video retention periods from 7 to 30 days or more. In addition, the SMR 2000 series are fully burn-in-tested and use preloaded Surveon VMS to eliminate compatibility issues while reducing maintenance overheads. It is out of question that the SMR2000 series are the most reliable and cost-effective solutions for small to medium sized surveillance needs.

## 2.0 Bid Specification

- The SMR shall support up to 16 network cameras.

- The SMR shall have a capacity of up to 2 SATA hard-drives.

- The NVR shall have a set of I/O ports, including:

  - 2 x 1Gigabit Ethernet Port

  - 4 x USB2.0 Port

  - 1 x e-SATA Port

  - 1 x D-Sub Port

- The SMR shall have external LED indicators for overheat/fan failure, network port 1 and 2, hard drive status.

- The SMR’s primary power source shall be 12VDC, 5A.

- The SMR’s operating ambient temperature shall be 5~40°C.

- The SMR shall be operational in a humidity range within 5~80% (non-condensing).

- The SMR shall be FCC / CE Class B, CB, BSMI, UL60959 / IEC60950 compliant.

- The SMR shall have total unit dimensions of 190(H) x 110(W) x 245(D) mm.

- The SMR shall have a total unit weight of 3kg.

- The SMR shall be equipped with preinstalled Video Management Software capable of features such as E-Map, real time live view/event alarm display and instant playback.

- The SMR shall allow pan, tilt and zoom operations (dependent of the cameras).

- The SMR shall provide time search, event search and VI search for video analysis.

- The SMR shall support video intelligence functionalities such as general motion detection, missing object detection, foreign object detection, intrusion detection, forbidden area detection and tampering detection.

# NVR Specifications

## 3.0 Minimum Performance Specification

The SMR must meet the following operating requirements:

### System

- Up to 16 Network Cameras

### Storage

- HDD Capacity 2x SATA

### I/O Interface

- 2 x 1 Gigabit RJ-45

- 4 x USB2.0

- 1 x e-SATA

- 1 x D-Sub

### LED Indicators

- Overheat/Fan Fail

- Network

- Hard Drive Status

### Electrical

- Input Voltage : 12VDC, 5A

- Frequency: 47 to 63 Hz

- Power Consumption (in operation): 43 watt

### Environmental

- Operating temperature: 5~40°C

- Operating Humidity: 5~80% (non-condensing)

### Mechanical

- Total unit dimensions: 190(H) x 110(W) x 245(D) mm

- 3kg

### Regulatory Approvals

- FCC, Class B

- CE

- CB

- UL60959/IEC60950

### Related Documentation

- SMR Series User Manual

## 4.0 Model Numbers

- The SMR shall be Surveon model SMR2006/2010/2016, 6/10/16 CH Megapixel H/W RAID NVR.

## 5.0 Warranty

Minimum 3 year parts and labor